HEALTH AND SAFETY

Risk assessment for working with biological hazards.

Completed forms should be submitted to Biological Safety Officer prior to receiving or working with any materials or hazards greater than Group.

Section 1

| Title of project: |  |
| --- | --- |
| Personnel |  |
| Group Leader/PI |  |
| Other workers |  |
| Department |  |
| Date of assessment |  |
| Location of work Building/Room |  |

### Section 2:  Biohazardous materials

Species name Virus/Bacteria/Fungi/other (Delete as appropriate) Other information relevant to biosafety

Disease or condition associated with material (if any)

Hazard Group (HG) (Hazard groups are listed for each organism by the Health and Safety Executive in the approved list of Biological Agents) http://www.hse.gov.uk/pubns/misc208.pdf 1 2 3 4 (Circle as appropriate) (Facilities in Lifesci are only available to work with HG 1 & 2)

Does material come under the Human Tissue Act? Yes ☐ No ☐ If YES then contact Dr Ethan Morgan (JMS 3C18B)

If from animal or human origin, is the material known to be virus/disease free? (e.g. screened for HIV/hepatitis etc.) Yes ☐ No ☐ (Unscreened blood or tissue samples require containment level 2 (CL2) as minimum.

Is organism genetically modified (GM)? Yes ☐ No ☐ If yes, then you need authorisation from the University Biological Safety Advisory Group. Complete a GM project risk assessment and proposal form and submit to BSAG via safetyscienceschools@sussex.ac.uk. Guidance on the assessment and form can be found here. HSE guidance for working with GM materials available via this link.

## Section 3:  Risk to Human Health

Details of Experimental Procedures

Is lone or late working required Yes ☐ No ☐

Possible Routes of infection

Inhalation ☐ (If aerosols are produced e.g. vortexing/centrifugation shaking etc.) Absorbtion ☐ (skin/eye contact through splashing etc.) Injection ☐ (needle stick injuries, cutes etc.) Ingestion ☐ (risk of contamination through mouth)

Are there additional Risks for New or expectant mothers? Yes ☐ No ☐ If yes, then refer to Occupational Health karen.racher@heales.com

Is Immunisation or Health Surveillance required? Yes ☐ No ☐ If yes, then refer to Occupational Health karen.racher@heales.com

## Control Measures

Personal Protective Equipment (PPE)

Gloves Nitrile ☐ Latex☐ Vinyl ☐ Eye Protection Safety Glasses☐ Goggles☐ Face Shield ☐ Protective clothing Standard Lab Coat ☐ Side fastening labcoat with elasticated cuffs ☐ Other (list)

Mechanical and Engineering Controls

Microbiological Safety Cabinet Class 1☐ Class 2☐ Other controls (list)

Laboratory Containment level (CL) required: CL1 ☐ CL2☐ CL3☐ See SSC-78-2 (Local Rules for the control of Biological Agents: Appendix 3) (CL3 only available in Medical School. Contact BSO for advice)

Section 4:  Disinfection and Disposal

(see local rules SPG-31-09 Safety Procedure and Guidance for Disinfection)

Liquid: Materials inactivated by autoclaving or disinfection prior to disposal Further Details:

Solid: CL1 ☐ (collected in autoclave bags in laboratory, sealed and transferred to clinical waste bags and disposed of via clinical waste contractor) CL2 ☐ (collected in autoclave bags in laboratory, autoclaved, sealed and transferred to clinical waste bags and disposed of via clinical waste contractor) Further Details:

Sharps CL1 ☐ (Collected in sharps bins, sealed and disposed of via clinical waste contractor) CL2 ☐ (Disinfected or autoclaved, collected in sharps bins, sealed and disposed of via clinical waste contractor) Further Details: NOTE: Plastic pipettes can be disposed of as above or may be sealed in heavy gauge clinical waste bags for disposal where there is no risk of bag penetration

Hazards to environment.

Details (if applicable):

Section 5: Emergency Planning

Spill/ release containment and clean-up procedure. General Spills: CL1 and CL2 For spills and splashes flood the affected area with suitable disinfectant (e.g. 10% 'Stericol') and cover with paper tissues. After a few minutes it may be sealed in a clinical waste bag and disposed of via clinical waste route. Disinfected surfaces should be rinsed with water or dilute detergent solution and dried with paper towels. Dispose of all materials via clinical waste route. Personal contamination: Clothing/PPE: Dispose of via clinical waste or autoclave prior to laundering. Skin: Irrigate and wash area with antibacterial soap contact BSO for advice. Major Spills/releases/contamination: Contact BSO for advice

#### AUTHORISATION

ESTIMATED RESIDUAL RISK LEVEL (with control measures in place, see Appendix 1)

High ☐ Medium ☐ Low ☐ Effectively zero ☐

Principal Investigator:  Name

Signed:								Date

(Signing confirms that all workers are trained and competent)

WORKER: NAME			   Signed:		     Date

WORKER: NAME			   Signed:		     Date

WORKER: NAME			   Signed:		     Date

WORKER: NAME			   Signed:		     Date

Approval for the project

Signed:							Date:

(School Biological Safety Officer)

Signed:							Date:

(Head of School)

Appendix 1: Matrix for estimation of level of risk

[Consequence x likelihood = risk of causing harm

|  | Likelihood of Hazard |
| --- | --- |
| Consequence of Hazard | High | Medium | Low | Negligible |
| Severe | High | High | Medium | Effectively Zero |
| Medium | High | Medium | Medium/Low | Effectively Zero |
| Low | Medium/Low | Low | Low | Effectively Zero |
| Negligible | Effectively Zero | Effectively Zero | Effectively Zero | Effectively Zero |