HSE Inspection: TFMRC MONTHLY INTERNAL

| Location: | TFMRC (CAMPUS MAP BUILDING 40) |
| --- | --- |
| Assessor: | MARK PUTTOCK (DELEGATED BY PROF. MARTIN ROSE AS INTERNAL HSE INSPECTOR) |
| Date Undertaken: | 03/06/2016 |
| Review Cycle: | Monthly |
| Rating: | UPSTAIRS: COMPLIANT DOWNSTAIRS:COMPLIANT |

| Compliance Rating | Definition |
| --- | --- |
| N/A | Not Applicable |
| X | Non-compliant |
| V | Compliant |

Contents

Fire Safety	2

Electrical Equipment	2

Slips & Trips	2

Lighting	2

Temperature & Ventilation	2

Noise	2

Hazardous Substances	2

Housekeeping	2

External Areas	2

Test Cell Corridor	2

First Aid provision	2

Access Equipment	3

Office Equipment (where applicable)	3

Student Project Room	3

TFMRC Test Cells	3

Note: Compilance Rating split between upper and lower floors and assessed independently.

| No. | Question | Compliance Rating |  | Action | Responsible for action | Due Date |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | GF | FF |  |  |  |
| ## Fire Safety |  |  |  |  |  |  |
| 1 | Are there suitable fire action notices in place? | V | V |  |  |  |
| 2 | Are extinguishers correctly situated and freely accessible? | V | V |  |  |  |
| 3 | Are all fire doors in a good state of repair and closing fully within a reasonable time frame? | V | V |  |  |  |
| 4 | Are fire exit routes clear of obstruction and trip hazards? | V | V |  |  |  |
| 5 | Are fire protection systems such as call points and sounders free from obvious damage or defect? | V | V |  |  |  |
| ## Electrical Equipment |  |  |  |  |  |  |
| 6 | Are electrical cables appropriately located to avoid mechanical damage or present a trip hazard? | V | V |  |  |  |
| 7 | Are socket outlets in a good state of repair and free from obvious damage? | V | V |  |  |  |
| ## Slips & Trips |  |  |  |  |  |  |
| 8 | Are floors in a good state of repair and free from excess damage or defects? | V | V |  |  |  |
| 9 | Are walkways free from cables and pipes that may present a trip hazard? | V | V |  |  |  |
| ## Lighting |  |  |  |  |  |  |
| 10 | Are all light units working and in good state of repair? | V | X | Light fitting on first floor above copier out. Report to estates. | Mark Puttock |  |
| ## Temperature & Ventilation |  |  |  |  |  |  |
| 11 | Is the temperature suitable and, as a minimum, above 16 Degrees Centigrade? | v | V |  |  |  |
| 12 | Is general ventilation and air turn-around suitable? | v | V |  |  |  |
| 13 | Is the aid free from obvious odour contamination? | v | V |  |  |  |
| ## Noise |  |  |  |  |  |  |
| 14 | Are noise action signs still in place? | N/A | N/A |  |  |  |
| ## Hazardous Substances |  |  |  |  |  |  |
| 15 | Are hazardous storage areas suitably secure? | V | N/A |  |  |  |
| ## Housekeeping |  |  |  |  |  |  |
| 16 | Are general levels of housekeeping adequate? | V | V |  |  |  |
| ## External Areas |  |  |  |  |  |  |
| 17 | Are external paths leading to the location in a good state of repair and free from defect? | V | N/A |  |  |  |
| 18 | Are external lights working? | N/A | N/A |  |  |  |
| 19 | Are entry points and exit routes kept free from obstruction and clearly identifiable? | V | N/A |  |  |  |
| ## Test Cell Corridor |  |  |  |  |  |  |
| 20 | Are there any obstructions to the walkway? Are there any obvious slips/spills (Oil on floor)? | V |  |  |  |  |
| 21 | Are all light working sufficiently and in good state of repair? | V |  |  |  |  |
| ## First Aid provision |  |  |  |  |  |  |
| 22 | Are first aid kits still in place and appropriately stocked? | V |  |  |  |  |
| ## Access Equipment |  |  |  |  |  |  |
| 23 | Are ladders and access equipment in a good state of repair? | X |  | Unsure of compliance: Check with office. | Mark | 3/6/2016 |
| ## Office Equipment (where applicable) |  |  |  |  |  |  |
| 24 | Are desks, chairs, desktop computers and other office furniture and equipment free of obvious defects or damage? | V | V |  |  |  |
| ## Student Project Room |  |  |  |  |  |  |
| 25 | Do all emergency stops operate fully? | V |  |  |  |  |
| 26 | Are safety guards fitted and working? | V |  |  |  |  |
| ## TFMRC Test Cells |  |  |  |  |  |  |
| 27 | Are current working test cells compliant with any risk assessment actions? | V |  |  |  |  |
| 28 | Are working test cells free from loose hanging cables, floor obstructions and have sufficient lighting? Are instrumentation wires tidy in walk ways? | V |  |  |  |  |
| 29 | Where relevant are CO2 detectors operational? | V |  |  |  |  |
| 30 | Are electrical sockets free from obvious defect? | V |  |  |  |  |
| TFMRC Workshop |  |  |  |  |  |  |
| 31 | Note: TFMRC Workshop inspection to be conducted separate to building. | N/A |  |  |  |  |
| Kitchen |  |  |  |  |  |  |
| 32 | Is furniture in good state of repair? | V |  |  |  |  |
| 32 | Are appliance free from obvious defect? Is sink area in good state of repair? | V |  |  |  |  |
| Storeroom |  |  |  |  |  |  |
| 34 | Is lighting sufficient and working? | X |  | Light fitting not working: report to estates | Mark | 3/6/2016 |
| 35 | Are walkways free of obstructions? Are shelved items overhanging into walkways? | X |  | Floorway obstruction | Mark | 10/6/2016 |

Other Issues

Water reel at front entrance not for fire. Needs repainting or signage. Disposal of old lighting tubes from test cell corridor. Disposal of old Mercury tubes from corridor.