| Hazardous Area Classification Datasheet |  |  |  |  |  |  | List of Equipment for Area Classification (LEAC) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location | e.g. Arundel Temporary Flammable Store |  | Description |  | e.g. Metal container unit containing fresh, sealed solvents. |  |  |  |  |  | Page | e.g. 1 of 1 |  |
| Study team | e.g. Wilma Heath |  |  |  |  |  |  |  |  |  | Issue No | e.g. 1 |  |
|  |  |  |  |  |  |  |  |  |  |  | Date | e.g. 23/07/2024 |  |
| Site | e.g. UoS Falmer Campus |  | Plant | e.g. N/A |  |  |  | Unit | e.g. Temporary Store |  | Name |  |  |
| Drawing Ref | e.g. 123456 |  | Drawing Title |  | e.g. See schematic plans of store. |  |  |  |  |  |  |  |  |
| Read this form in conjunction with hazardous area classification plans. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Source of release |  | Grade of release | Flammable material |  |  |  | Ventilation |  |  | Hazardous Area |  |  | Remarks |
| Description | Location | Continuous, Primary, Secondary | Flash Point range | Operating conditions Temp/ °C | Operating conditions Pressure/ bar | State Gas, vapour, mist, liquid, solid | Type Artificial, Natural | Degree High, Medium, Low | Availability Good, Fair, Poor | Zone Type 0/1/2 20/21/22 | Zone extent Vert. (m) | Zone extent Horiz. (m) | Notes |
| e.g. Arundel Temporary Flammable store | e.g. Rear of Arundel Building | e.g. S | e.g. -48°C to 38.5°C | e.g. Amb | e.g. N/A | e.g. V | e.g. Natural | e.g. Med | e.g. Fair | e.g. 2 | e.g. Entire internal space. | e.g. Entire internal space. | e.g. N/A |